## FileInfo
Perspectives on Indian Energy based on Rumi (PIER)
Prayas (Energy Group)
2021
Release date: | 2021-10-01
Contact: | energy.model@prayaspune.org
Suggested Citations
PIER Git repo: | Link to PIER Git | Prayas (Energy Group). (2021, October). PIER: Modelling the Indian energy system through the 2020s. Perspectives on Indian Energy based on Rumi (PIER). https://www.prayaspune.org/peg/publications/item/512
PIER report: | Link to PIER Report
Rumi Git repo: | Link to Rumi Git | Prayas (Energy Group). (2021, October). Rumi: An open-source energy systems modelling platform developed by Prayas (Energy Group). https://github.com/prayas-energy/Rumi
Source workbook | Folder | Sl no. | Parameter files
ECT_OperationalInfo.xlsx | Global Data/Supply/Parameters/Technologies | 1 | ECT_OperationalInfo.csv
| Scenarios/S2_PRS/Supply/Parameters/Technologies | 2 | ECT_OperationalInfo.csv
Documentation
1 | This workbook creates input data for parameters CapacityDerating, SelfCons, MaxRampUpRate, MaxRampDownRate for ECTs
2 | All assumptions are mentioned in 'Info' sheet
3 | This workbook contains PowerQueries, please refresh them in the order they appear in 'Data->Show Queries'
Sources
1 | CEA Gen review 2020 (https://cea.nic.in/wp-content/uploads/general/2020/GR_2020.pdf)
2 | CEA Optimal mix (https://cea.nic.in/old/reports/others/planning/irp/Optimal_mix_report_2029-30_FINAL.pdf)
3 | Various CERC Regulations
4 | Indian Petroleum and Natural Gas Statistics, Ministry of Petroleum and Natural Gas, Government of India

## Info
ElecTech | 2018-20 (Legacy) | 2018-20 (Legacy) PRS | 2021-31 (new capacity) | Comments
EG_COAL | 8% | 8.5% | 7.5% | We take Legacy self cons based on CEA Gen review (https://cea.nic.in/wp-content/uploads/general/2020/GR_2020.pdf) Table 6.5.3. National Self Cons : 7.51% We take 6.5% model years based on CEA Optimal mix (https://cea.nic.in/old/reports/others/planning/irp/Optimal_mix_report_2029-30_FINAL.pdf) : Annexure-I/3: 7%, 6.5% We add an extra 1% to new capacity to account for additional auxiliary consumption due to installation of pollution control equipment, mainly FGD based on CERC tariff regs amendment (https://cercind.gov.in/2020/regulation/160-Reg.pdf) (p 20/25), for wet limestone FGD which is the most likely technology for Indian plants. We add 0.5% to old capacity to account for additional auxiliary consumption due to installation of PCE in the reference scenario. This is because not all of them may install it (as they will retire soon) and those who install it will install it sometime between 2020 and 2025. Since aux cons is only specified by installation year, this is intended to approximate that effect. In the pessimistic recovery scenario PRS, we add the full extra 1% to old capacity also, because retirements are lower (only ~7% capacity retires in the model period), since new investments are slower to come. {Just for reference: Lignite and <300 MW coal units: 8.5%, >300 MW coal 8%, CEA data 2006-2016 New capacity based on CERC regulations: Coal/Lignite based thermal generating station 300 MW and above, Steam driven boiler feed pumps with dry cooling systems employing jet condensers with pressure recovery turbine and natural draft tower}
EG_CCGT | 2.75% |  | 2.75% | CERC regulations
EG_OCGT | 1% |  | 1% | CERC regulations
EG_PHWR | 10% |  | 9% | Based on past trends - CEA General Review
EG_LH | 1% |  | 1% | CERC regulations
EG_SH | 1% |  | 1% | CERC regulations
EG_BIOMASS | 10% |  | 10% | CERC regulations
EG_SOLARPV | 0.25% |  | 0.25% | CERC regulations
EG_WIND | 0% |  | 0% | CERC regulations
ElecTech | MaxRampUpRate | MaxRampDownRate
EG_COAL | 10% | 10%
EG_CCGT | 50% | 50%
EG_OCGT | 100% | 100%
EG_PHWR | 1% | 1%
EG_LH | 100% | 100%
EG_SH | 100% | 100%
EG_BIOMASS | 50% | 50%
EG_SOLARPV | 100% | 100%
EG_WIND | 100% | 100%
RF_MS | 100% | 100%
RF_HSD | 100% | 100%
RF_ATF | 100% | 100%
RF_LPG | 100% | 100%
RF_OTHERPP | 100% | 100%

## SelfCons-Input
Ref scenario self consumption
ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
EG_COAL | 0.08 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075
EG_CCGT | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275
EG_OCGT | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
EG_PHWR | 0.1 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09
EG_LH | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
EG_SH | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
EG_BIOMASS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
EG_SOLARPV | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025
EG_WIND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RF_MS | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272
RF_HSD | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659
RF_ATF | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897
RF_LPG | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687
RF_OTHERPP | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271
PRS scenario self consumption
ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | PNG Stats 2019-20
EG_COAL | 0.085 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 |  | Production of Petroleum products-Fin year-wise, TMT | [6 empty] | % share of total | [7 empty] | Refinery losses | [6 empty] | SelfCons
EG_CCGT | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | 0.0275 | Products | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | Average | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | Average
EG_OCGT | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | LPG | 10030 | 9840 | 10568 | 11326 | 12380 | 12786 | 12823 | 4.543% | 4.45% | 4.557% | 4.65% | 4.866% | 4.873% | 4.877% | 4.688% | 837.669 | 828.3397 | 880.0963 | 940.9009 | 992.1886 | 1005.7841 | 1102.1714 | 0.083516 | 0.084181 | 0.083279 | 0.083074 | 0.080144 | 0.078663 | 0.085953 | 0.082687
EG_PHWR | 0.1 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | Motor Spirit(MS) | 30275 | 32325 | 35321 | 36593 | 37784 | 38039 | 38616 | 13.71% | 14.62% | 15.23% | 15.02% | 14.85% | 14.5% | 14.69% | 14.66% | 2619.5252 | 2590.3509 | 2752.202 | 2942.3478 | 3102.7329 | 3145.2481 | 3446.6665 | 0.086524 | 0.080135 | 0.07792 | 0.080407 | 0.082118 | 0.082685 | 0.089255 | 0.08272
EG_LH | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | ATF | 11220 | 11103 | 11789 | 13831 | 14594 | 15479 | 15238 | 5.083% | 5.021% | 5.083% | 5.679% | 5.737% | 5.9% | 5.795% | 5.471% | 977.5591 | 966.6718 | 1027.0717 | 1098.0306 | 1157.8834 | 1173.7493 | 1286.2331 | 0.087126 | 0.087064 | 0.087121 | 0.079389 | 0.07934 | 0.075828 | 0.08441 | 0.082897
EG_SH | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | HSD | 93759 | 94428 | 98588 | 102484 | 107904 | 110535 | 111198 | 42.47% | 42.7% | 42.51% | 42.08% | 42.41% | 42.13% | 42.29% | 42.37% | 7570.8213 | 7486.5033 | 7954.2774 | 8503.8272 | 8967.3641 | 9090.2396 | 9961.384 | 0.080748 | 0.079283 | 0.080682 | 0.082977 | 0.083105 | 0.082239 | 0.089582 | 0.082659
EG_BIOMASS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | LDO | 423 | 358 | 429 | 629 | 562 | 702 | 643 | 0.1916% | 0.1619% | 0.185% | 0.2583% | 0.2209% | 0.2676% | 0.2445% | 0.2185%
EG_SOLARPV | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | Naphtha | 18505 | 17391 | 17861 | 19946 | 20006 | 19786 | 20679 | 8.383% | 7.864% | 7.701% | 8.19% | 7.864% | 7.542% | 7.864% | 7.915%
EG_WIND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kerosene | 7418 | 7559 | 7503 | 6041 | 4408 | 4072 | 3141 | 3.36% | 3.418% | 3.235% | 2.48% | 1.733% | 1.552% | 1.195% | 2.425%
RF_MS | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | 0.08272 | Fuel Oils(FO/LSHS/RFO) | 13405 | 11919 | 9727 | 9962 | 9486 | 10032 | 8610 | 6.072% | 5.39% | 4.194% | 4.09% | 3.729% | 3.824% | 3.274% | 4.368%
RF_HSD | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | 0.082659 | Lube oils | 941 | 946 | 1037 | 1029 | 1036 | 949 | 932 | 0.4263% | 0.4278% | 0.4471% | 0.4225% | 0.4072% | 0.3617% | 0.3544% | 0.4067%
RF_ATF | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | 0.082897 | Bitumen | 4785 | 4632 | 5157 | 5185 | 5277 | 5803 | 5244 | 2.168% | 2.095% | 2.224% | 2.129% | 2.074% | 2.212% | 1.994% | 2.128%
RF_LPG | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | 0.082687 | Petroleum coke | 12068 | 12448 | 13322 | 13936 | 14754 | 14676 | 15528 | 5.467% | 5.629% | 5.744% | 5.722% | 5.799% | 5.594% | 5.905% | 5.694%
RF_OTHERPP | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | 0.08271 | Paraffin wax | 55 | 51 | 65 | 85 | 104 | 90 | 96 | 0.02491% | 0.02306% | 0.02803% | 0.0349% | 0.04088% | 0.0343% | 0.03651% | 0.0318%
[13 empty] | Others | 17872 | 18136 | 20556 | 22504 | 26110 | 29412 | 30196 | 8.096% | 8.201% | 8.863% | 9.24% | 10.26% | 11.21% | 11.48% | 9.623%
[13 empty] | Other Petro Products | 75472 | 73440 | 75657 | 79317 | 81743 | 85522 | 85069 | 34.19% | 33.21% | 32.62% | 32.57% | 32.13% | 32.6% | 32.35% | 32.81% | 5862.4255 | 5797.1343 | 6159.3527 | 6584.8936 | 6943.831 | 7038.9789 | 7713.545 | 0.077677 | 0.078937 | 0.081412 | 0.08302 | 0.084947 | 0.082306 | 0.090674 | 0.08271
[13 empty] | TOTAL (All Petro products) | 220756 | 221136 | 231923 | 243551 | 254405 | 262361 | 262944 | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
[13 empty] | Refinery fuel & losses | Production of Petroleum products-Fin year-wise, TMT 2013-14: 17868; Production of Petroleum products-Fin year-wise, TMT 2014-15: 17669; Production of Petroleum products-Fin year-wise, TMT 2015-16: 18773; Production of Petroleum products-Fin year-wise, TMT 2016-17: 20070; Production of Petroleum products-Fin year-wise, TMT 2017-18: 21164; Production of Petroleum products-Fin year-wise, TMT 2018-19: 21454; Production of Petroleum products-Fin year-wise, TMT 2019-20: 23510
[14 empty] | 8.094% | 7.99% | 8.094% | 8.241% | 8.319% | 8.177% | 8.941%
Note on O27: Author: LDO - Non-automotive fuel. Considered part of Other PP

## RampRates-Input
Ref scenario MaxRampUpRate | [12 empty] | Ref scenario MaxRampDownRate
ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
EG_COAL | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | EG_COAL | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
EG_CCGT | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | EG_CCGT | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
EG_OCGT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_OCGT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_PHWR | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | EG_PHWR | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
EG_LH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_LH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_SH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_SH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_BIOMASS | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | EG_BIOMASS | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
EG_SOLARPV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_SOLARPV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_WIND | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_WIND | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_MS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_MS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_HSD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_HSD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_ATF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_ATF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_LPG | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_LPG | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_OTHERPP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_OTHERPP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PRS scenario MaxRampUpRate | [12 empty] | PRS scenario MaxRampDownRate
ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | ELECTECH | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
EG_COAL | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | EG_COAL | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
EG_CCGT | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | EG_CCGT | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
EG_OCGT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_OCGT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_PHWR | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | EG_PHWR | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
EG_LH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_LH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_SH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_SH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_BIOMASS | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | EG_BIOMASS | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
EG_SOLARPV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_SOLARPV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
EG_WIND | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | EG_WIND | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_MS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_MS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_HSD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_HSD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_ATF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_ATF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_LPG | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_LPG | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RF_OTHERPP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | RF_OTHERPP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## ECT_OperationalInfo
EnergyConvTech | InstYear | CapacityDerating | SelfCons | MaxRampUpRate | MaxRampDownRate
EG_COAL | 2020 | 0 | 0.08 | 0.1 | 0.1
EG_COAL | 2021 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2022 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2023 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2024 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2025 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2026 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2027 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2028 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2029 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2030 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2031 | 0 | 0.075 | 0.1 | 0.1
EG_CCGT | 2020 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2021 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2022 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2023 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2024 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2025 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2026 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2027 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2028 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2029 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2030 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2031 | 0 | 0.0275 | 0.5 | 0.5
EG_OCGT | 2020 | 0 | 0.01 | 1 | 1
EG_OCGT | 2021 | 0 | 0.01 | 1 | 1
EG_OCGT | 2022 | 0 | 0.01 | 1 | 1
EG_OCGT | 2023 | 0 | 0.01 | 1 | 1
EG_OCGT | 2024 | 0 | 0.01 | 1 | 1
EG_OCGT | 2025 | 0 | 0.01 | 1 | 1
EG_OCGT | 2026 | 0 | 0.01 | 1 | 1
EG_OCGT | 2027 | 0 | 0.01 | 1 | 1
EG_OCGT | 2028 | 0 | 0.01 | 1 | 1
EG_OCGT | 2029 | 0 | 0.01 | 1 | 1
EG_OCGT | 2030 | 0 | 0.01 | 1 | 1
EG_OCGT | 2031 | 0 | 0.01 | 1 | 1
EG_PHWR | 2020 | 0 | 0.1 | 0.01 | 0.01
EG_PHWR | 2021 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2022 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2023 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2024 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2025 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2026 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2027 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2028 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2029 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2030 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2031 | 0 | 0.09 | 0.01 | 0.01
EG_LH | 2020 | 0 | 0.01 | 1 | 1
EG_LH | 2021 | 0 | 0.01 | 1 | 1
EG_LH | 2022 | 0 | 0.01 | 1 | 1
EG_LH | 2023 | 0 | 0.01 | 1 | 1
EG_LH | 2024 | 0 | 0.01 | 1 | 1
EG_LH | 2025 | 0 | 0.01 | 1 | 1
EG_LH | 2026 | 0 | 0.01 | 1 | 1
EG_LH | 2027 | 0 | 0.01 | 1 | 1
EG_LH | 2028 | 0 | 0.01 | 1 | 1
EG_LH | 2029 | 0 | 0.01 | 1 | 1
EG_LH | 2030 | 0 | 0.01 | 1 | 1
EG_LH | 2031 | 0 | 0.01 | 1 | 1
EG_SH | 2020 | 0 | 0.01 | 1 | 1
EG_SH | 2021 | 0 | 0.01 | 1 | 1
EG_SH | 2022 | 0 | 0.01 | 1 | 1
EG_SH | 2023 | 0 | 0.01 | 1 | 1
EG_SH | 2024 | 0 | 0.01 | 1 | 1
EG_SH | 2025 | 0 | 0.01 | 1 | 1
EG_SH | 2026 | 0 | 0.01 | 1 | 1
EG_SH | 2027 | 0 | 0.01 | 1 | 1
EG_SH | 2028 | 0 | 0.01 | 1 | 1
EG_SH | 2029 | 0 | 0.01 | 1 | 1
EG_SH | 2030 | 0 | 0.01 | 1 | 1
EG_SH | 2031 | 0 | 0.01 | 1 | 1
EG_BIOMASS | 2020 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2021 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2022 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2023 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2024 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2025 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2026 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2027 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2028 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2029 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2030 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2031 | 0 | 0.1 | 0.5 | 0.5
EG_SOLARPV | 2020 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2021 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2022 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2023 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2024 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2025 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2026 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2027 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2028 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2029 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2030 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2031 | 0 | 0.0025 | 1 | 1
EG_WIND | 2020 | 0 | 0 | 1 | 1
EG_WIND | 2021 | 0 | 0 | 1 | 1
EG_WIND | 2022 | 0 | 0 | 1 | 1
EG_WIND | 2023 | 0 | 0 | 1 | 1
EG_WIND | 2024 | 0 | 0 | 1 | 1
EG_WIND | 2025 | 0 | 0 | 1 | 1
EG_WIND | 2026 | 0 | 0 | 1 | 1
EG_WIND | 2027 | 0 | 0 | 1 | 1
EG_WIND | 2028 | 0 | 0 | 1 | 1
EG_WIND | 2029 | 0 | 0 | 1 | 1
EG_WIND | 2030 | 0 | 0 | 1 | 1
EG_WIND | 2031 | 0 | 0 | 1 | 1
RF_MS | 2020 | 0 | 0.08272 | 1 | 1
RF_MS | 2021 | 0 | 0.08272 | 1 | 1
RF_MS | 2022 | 0 | 0.08272 | 1 | 1
RF_MS | 2023 | 0 | 0.08272 | 1 | 1
RF_MS | 2024 | 0 | 0.08272 | 1 | 1
RF_MS | 2025 | 0 | 0.08272 | 1 | 1
RF_MS | 2026 | 0 | 0.08272 | 1 | 1
RF_MS | 2027 | 0 | 0.08272 | 1 | 1
RF_MS | 2028 | 0 | 0.08272 | 1 | 1
RF_MS | 2029 | 0 | 0.08272 | 1 | 1
RF_MS | 2030 | 0 | 0.08272 | 1 | 1
RF_MS | 2031 | 0 | 0.08272 | 1 | 1
RF_HSD | 2020 | 0 | 0.082659 | 1 | 1
RF_HSD | 2021 | 0 | 0.082659 | 1 | 1
RF_HSD | 2022 | 0 | 0.082659 | 1 | 1
RF_HSD | 2023 | 0 | 0.082659 | 1 | 1
RF_HSD | 2024 | 0 | 0.082659 | 1 | 1
RF_HSD | 2025 | 0 | 0.082659 | 1 | 1
RF_HSD | 2026 | 0 | 0.082659 | 1 | 1
RF_HSD | 2027 | 0 | 0.082659 | 1 | 1
RF_HSD | 2028 | 0 | 0.082659 | 1 | 1
RF_HSD | 2029 | 0 | 0.082659 | 1 | 1
RF_HSD | 2030 | 0 | 0.082659 | 1 | 1
RF_HSD | 2031 | 0 | 0.082659 | 1 | 1
RF_ATF | 2020 | 0 | 0.082897 | 1 | 1
RF_ATF | 2021 | 0 | 0.082897 | 1 | 1
RF_ATF | 2022 | 0 | 0.082897 | 1 | 1
RF_ATF | 2023 | 0 | 0.082897 | 1 | 1
RF_ATF | 2024 | 0 | 0.082897 | 1 | 1
RF_ATF | 2025 | 0 | 0.082897 | 1 | 1
RF_ATF | 2026 | 0 | 0.082897 | 1 | 1
RF_ATF | 2027 | 0 | 0.082897 | 1 | 1
RF_ATF | 2028 | 0 | 0.082897 | 1 | 1
RF_ATF | 2029 | 0 | 0.082897 | 1 | 1
RF_ATF | 2030 | 0 | 0.082897 | 1 | 1
RF_ATF | 2031 | 0 | 0.082897 | 1 | 1
RF_LPG | 2020 | 0 | 0.082687 | 1 | 1
RF_LPG | 2021 | 0 | 0.082687 | 1 | 1
RF_LPG | 2022 | 0 | 0.082687 | 1 | 1
RF_LPG | 2023 | 0 | 0.082687 | 1 | 1
RF_LPG | 2024 | 0 | 0.082687 | 1 | 1
RF_LPG | 2025 | 0 | 0.082687 | 1 | 1
RF_LPG | 2026 | 0 | 0.082687 | 1 | 1
RF_LPG | 2027 | 0 | 0.082687 | 1 | 1
RF_LPG | 2028 | 0 | 0.082687 | 1 | 1
RF_LPG | 2029 | 0 | 0.082687 | 1 | 1
RF_LPG | 2030 | 0 | 0.082687 | 1 | 1
RF_LPG | 2031 | 0 | 0.082687 | 1 | 1
RF_OTHERPP | 2020 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2021 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2022 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2023 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2024 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2025 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2026 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2027 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2028 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2029 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2030 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2031 | 0 | 0.08271 | 1 | 1

## ECT_OperationalInfo_PRS
EnergyConvTech | InstYear | CapacityDerating | SelfCons | MaxRampUpRate | MaxRampDownRate
EG_COAL | 2020 | 0 | 0.085 | 0.1 | 0.1
EG_COAL | 2021 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2022 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2023 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2024 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2025 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2026 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2027 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2028 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2029 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2030 | 0 | 0.075 | 0.1 | 0.1
EG_COAL | 2031 | 0 | 0.075 | 0.1 | 0.1
EG_CCGT | 2020 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2021 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2022 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2023 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2024 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2025 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2026 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2027 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2028 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2029 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2030 | 0 | 0.0275 | 0.5 | 0.5
EG_CCGT | 2031 | 0 | 0.0275 | 0.5 | 0.5
EG_OCGT | 2020 | 0 | 0.01 | 1 | 1
EG_OCGT | 2021 | 0 | 0.01 | 1 | 1
EG_OCGT | 2022 | 0 | 0.01 | 1 | 1
EG_OCGT | 2023 | 0 | 0.01 | 1 | 1
EG_OCGT | 2024 | 0 | 0.01 | 1 | 1
EG_OCGT | 2025 | 0 | 0.01 | 1 | 1
EG_OCGT | 2026 | 0 | 0.01 | 1 | 1
EG_OCGT | 2027 | 0 | 0.01 | 1 | 1
EG_OCGT | 2028 | 0 | 0.01 | 1 | 1
EG_OCGT | 2029 | 0 | 0.01 | 1 | 1
EG_OCGT | 2030 | 0 | 0.01 | 1 | 1
EG_OCGT | 2031 | 0 | 0.01 | 1 | 1
EG_PHWR | 2020 | 0 | 0.1 | 0.01 | 0.01
EG_PHWR | 2021 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2022 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2023 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2024 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2025 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2026 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2027 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2028 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2029 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2030 | 0 | 0.09 | 0.01 | 0.01
EG_PHWR | 2031 | 0 | 0.09 | 0.01 | 0.01
EG_LH | 2020 | 0 | 0.01 | 1 | 1
EG_LH | 2021 | 0 | 0.01 | 1 | 1
EG_LH | 2022 | 0 | 0.01 | 1 | 1
EG_LH | 2023 | 0 | 0.01 | 1 | 1
EG_LH | 2024 | 0 | 0.01 | 1 | 1
EG_LH | 2025 | 0 | 0.01 | 1 | 1
EG_LH | 2026 | 0 | 0.01 | 1 | 1
EG_LH | 2027 | 0 | 0.01 | 1 | 1
EG_LH | 2028 | 0 | 0.01 | 1 | 1
EG_LH | 2029 | 0 | 0.01 | 1 | 1
EG_LH | 2030 | 0 | 0.01 | 1 | 1
EG_LH | 2031 | 0 | 0.01 | 1 | 1
EG_SH | 2020 | 0 | 0.01 | 1 | 1
EG_SH | 2021 | 0 | 0.01 | 1 | 1
EG_SH | 2022 | 0 | 0.01 | 1 | 1
EG_SH | 2023 | 0 | 0.01 | 1 | 1
EG_SH | 2024 | 0 | 0.01 | 1 | 1
EG_SH | 2025 | 0 | 0.01 | 1 | 1
EG_SH | 2026 | 0 | 0.01 | 1 | 1
EG_SH | 2027 | 0 | 0.01 | 1 | 1
EG_SH | 2028 | 0 | 0.01 | 1 | 1
EG_SH | 2029 | 0 | 0.01 | 1 | 1
EG_SH | 2030 | 0 | 0.01 | 1 | 1
EG_SH | 2031 | 0 | 0.01 | 1 | 1
EG_BIOMASS | 2020 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2021 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2022 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2023 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2024 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2025 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2026 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2027 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2028 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2029 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2030 | 0 | 0.1 | 0.5 | 0.5
EG_BIOMASS | 2031 | 0 | 0.1 | 0.5 | 0.5
EG_SOLARPV | 2020 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2021 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2022 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2023 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2024 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2025 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2026 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2027 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2028 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2029 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2030 | 0 | 0.0025 | 1 | 1
EG_SOLARPV | 2031 | 0 | 0.0025 | 1 | 1
EG_WIND | 2020 | 0 | 0 | 1 | 1
EG_WIND | 2021 | 0 | 0 | 1 | 1
EG_WIND | 2022 | 0 | 0 | 1 | 1
EG_WIND | 2023 | 0 | 0 | 1 | 1
EG_WIND | 2024 | 0 | 0 | 1 | 1
EG_WIND | 2025 | 0 | 0 | 1 | 1
EG_WIND | 2026 | 0 | 0 | 1 | 1
EG_WIND | 2027 | 0 | 0 | 1 | 1
EG_WIND | 2028 | 0 | 0 | 1 | 1
EG_WIND | 2029 | 0 | 0 | 1 | 1
EG_WIND | 2030 | 0 | 0 | 1 | 1
EG_WIND | 2031 | 0 | 0 | 1 | 1
RF_MS | 2020 | 0 | 0.08272 | 1 | 1
RF_MS | 2021 | 0 | 0.08272 | 1 | 1
RF_MS | 2022 | 0 | 0.08272 | 1 | 1
RF_MS | 2023 | 0 | 0.08272 | 1 | 1
RF_MS | 2024 | 0 | 0.08272 | 1 | 1
RF_MS | 2025 | 0 | 0.08272 | 1 | 1
RF_MS | 2026 | 0 | 0.08272 | 1 | 1
RF_MS | 2027 | 0 | 0.08272 | 1 | 1
RF_MS | 2028 | 0 | 0.08272 | 1 | 1
RF_MS | 2029 | 0 | 0.08272 | 1 | 1
RF_MS | 2030 | 0 | 0.08272 | 1 | 1
RF_MS | 2031 | 0 | 0.08272 | 1 | 1
RF_HSD | 2020 | 0 | 0.082659 | 1 | 1
RF_HSD | 2021 | 0 | 0.082659 | 1 | 1
RF_HSD | 2022 | 0 | 0.082659 | 1 | 1
RF_HSD | 2023 | 0 | 0.082659 | 1 | 1
RF_HSD | 2024 | 0 | 0.082659 | 1 | 1
RF_HSD | 2025 | 0 | 0.082659 | 1 | 1
RF_HSD | 2026 | 0 | 0.082659 | 1 | 1
RF_HSD | 2027 | 0 | 0.082659 | 1 | 1
RF_HSD | 2028 | 0 | 0.082659 | 1 | 1
RF_HSD | 2029 | 0 | 0.082659 | 1 | 1
RF_HSD | 2030 | 0 | 0.082659 | 1 | 1
RF_HSD | 2031 | 0 | 0.082659 | 1 | 1
RF_ATF | 2020 | 0 | 0.082897 | 1 | 1
RF_ATF | 2021 | 0 | 0.082897 | 1 | 1
RF_ATF | 2022 | 0 | 0.082897 | 1 | 1
RF_ATF | 2023 | 0 | 0.082897 | 1 | 1
RF_ATF | 2024 | 0 | 0.082897 | 1 | 1
RF_ATF | 2025 | 0 | 0.082897 | 1 | 1
RF_ATF | 2026 | 0 | 0.082897 | 1 | 1
RF_ATF | 2027 | 0 | 0.082897 | 1 | 1
RF_ATF | 2028 | 0 | 0.082897 | 1 | 1
RF_ATF | 2029 | 0 | 0.082897 | 1 | 1
RF_ATF | 2030 | 0 | 0.082897 | 1 | 1
RF_ATF | 2031 | 0 | 0.082897 | 1 | 1
RF_LPG | 2020 | 0 | 0.082687 | 1 | 1
RF_LPG | 2021 | 0 | 0.082687 | 1 | 1
RF_LPG | 2022 | 0 | 0.082687 | 1 | 1
RF_LPG | 2023 | 0 | 0.082687 | 1 | 1
RF_LPG | 2024 | 0 | 0.082687 | 1 | 1
RF_LPG | 2025 | 0 | 0.082687 | 1 | 1
RF_LPG | 2026 | 0 | 0.082687 | 1 | 1
RF_LPG | 2027 | 0 | 0.082687 | 1 | 1
RF_LPG | 2028 | 0 | 0.082687 | 1 | 1
RF_LPG | 2029 | 0 | 0.082687 | 1 | 1
RF_LPG | 2030 | 0 | 0.082687 | 1 | 1
RF_LPG | 2031 | 0 | 0.082687 | 1 | 1
RF_OTHERPP | 2020 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2021 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2022 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2023 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2024 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2025 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2026 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2027 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2028 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2029 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2030 | 0 | 0.08271 | 1 | 1
RF_OTHERPP | 2031 | 0 | 0.08271 | 1 | 1